## Sheet1
560 Berne Road, Columbia Falls, MT 59912
Calibration Log
UAV-1000606-001 Rev M
Manufacturer | Model # | Description | Serial # | Asset # | Cal Date | Cal Due | Certificate # | Calibrated By | Cal Duration | Days Until Cal | Cal Check | Date Checked
Rigol | DP832A | 3 channel power supply | DP8B203600952 | UVA-0067 | 2020-02-28 | 2022-02-28 | 2-C6W6G-20-1 | Neil Greuel | 731 | 663
Rigol | DP832A | 3 channel power supply | DP8B173800733 | UVA-0046 | 2019-12-13 | 2021-12-13 | 2-C6A0O-20-1 | DDUNNING | 731 | 586
Rigol | DP832A | 3 channel power supply | DP8B191900366 | UVA-0074 | 2019-12-13 | 2021-12-13 | 2-C6A0O-40-1 | DDUNNING | 731 | 586
Rigol | DP832A | 3 channel power supply | DP8B203801015 | UVA-0066 | 2019-12-27 | 2020-12-27 | 2-C6E4X-40-1 | Dan Bowers | 366 | 235
Rigol | DP832A | 3 channel power supply | DP8B203800997 | UVA-0051 | 2020-01-30 | 2021-01-30 | 23-C6M1U-20-1 | Jim Hicks | 366 | 269
Rigol | DP832A | 3 channel power supply | DP8B203801022 | UVA-0052 | 2020-02-15 | 2021-02-15 | 2-C6E4X-20-1 | DDUNNING | 366 | 285
Rigol | DP832A | 3 channel power supply | DP8B214100982 | UVA-0179 | 2019-10-10 | 2020-10-10 | DP832A214100982 | See QM Cal Documents | 366 | 157
Rigol | DP832A | 3 channel power supply | DP8214100990 | UVA-0180 | 2019-10-10 | 2020-10-10 | DP832A214100990 | See QM Cal Documents | 366 | 157
Rigol | DP712 | 1 channel power supply | DP7B212800273 | UVA-0226 | 2019-09-10 | 2021-12-10 | DP712212800273 | See QM Cal Documents | 822 | 583
Rigol | DP712 | 1 channel power supply | DP7B204200489 | UVA-0083 | 2018-10-24 | 2021-04-24 | DP712204200489 | See QM Cal Documents | 913 | 353
Rigol | DP712 | 1 channel power supply | DP7B204200477 | UVA-0084 | 2018-10-24 | 2021-04-24 | DP712204200477 | See QM Cal Documents | 913 | 353
Rigol | DP712 | 1 channel power supply | DP7B204200482 | UVA-0085 | 2018-10-24 | 2021-04-24 | DP712204200482 | See QM Cal Documents | 913 | 353
Rigol | DP712 | 1 channel power supply | DP7B204200480 | UVA-0254 | 2018-10-24 | 2021-04-24 | DP712204200480 | See QM Cal Documents | 913 | 353
Tektronix | RSA306 | Real-Time Spectrum Analyzer | B012531 | UVA-0081 | 2020-01-29 | 2021-01-29 | 1984347-1-RSA306-B012531-1 | Erasto Medina | 366 | 268
Tektronix | RSA306B | Real-Time Spectrum Analyzer | B034911 | UVA-0086 | 2019-03-25 | 2021-05-20 | BV4K1176R0G | Matt McCarron | 787 | 379
Tektronix | RSA306B | Real-Time Spectrum Analyzer | B033069 | UVA-0044 | 2019-11-26 | 2021-11-26 | 15182115 | Andrew Brickner | 731 | 569
Tektronix | RSA306B | Real-Time Spectrum Analyzer | B034298 | UVA-0156 | 2019-03-22 | 2021-03-22 | 1925129-1-RSA306B-B034298-2 | sbuhler | 731 | 320
Tektronix | RSA306B | Real-Time Spectrum Analyzer | B034931 | UVA-0175 | 2019-04-04 | 2021-04-04 | BV2K1184LDR | Randy Van Wie | 731 | 333
Spirent | GSS6100 | Signal Generator | 2477 | UVA-0202 | 2019-08-12 | 2021-08-12 | 14895528 | Mark Gibson | 731 | 463
Spectracom | GSG-5 | GNSS simulator | 200114 | UVA-0045 | 2019-03-14 | 2021-03-14 | 2145 | Aloun Siharath | 731 | 312
Digi-Sense | 68000-49 | Digital barometer, thermometer and hygrometer | 18147382 | UVA-0049 | 2018-07-06 | 2020-07-06 | 6530-9625226 | Nicole Rodriguez | 731 | 61
Digi-Sense | 68000-49 | Digital barometer, thermometer and hygrometer | 192166229 | UVA-0169 | 2019-05-09 | 2021-05-09 | 6530-10389429 | Nicole Rodriguez | 731 | 368
Fluke | 87V | Digitial multimeter | 43480027 | UVA-0057 | 2019-08-29 | 2021-08-29 | BVL569921 | Nick Morabito | 731 | 480
Fluke | 87V | Digital multimeter | 44450189 | UVA-0042 | 2020-03-06 | 2022-03-06 | 2-C7C5X-20-1 | MSTRANGE | 730 | 669
Fluke | 87V | Digital multimeter | 44440420 | UVA-0153 | 2019-07-23 | 2020-07-23 | BVL560809 | Dustin Deshane | 366 | 78
Fluke | 87V | Digital multimeter | 47670136 | UVA-0190 | 2019-12-03 | 2020-12-03 | 9543 | See QM Cal Documents | 366 | 211
Fluke | 87V | Digital multimeter | 47730337 | UVA-0191 | 2019-12-03 | 2020-12-03 | 9544 | See QM Cal Documents | 366 | 211
Beehive | 100C | Loop antenna | 3101 | UVA-0053 | 2020-01-26 | 2022-01-26 | N/A | See QM Cal Documents | 731 | 630
Beehive | 100C | Loop antenna | 3096 | UVA-0037 | 2019-08-17 | 2021-08-17 | N/A | See QM Cal Documents | 731 | 468
Beehive | 100C | Loop antenna | 3094 | UVA-0151 | 2019-07-28 | 2021-07-28 | N/A | See QM Cal Documents | 731 | 448
Beehive | 100C | Loop antenna | 3095 | UVA-0157 | 2019-07-28 | 2021-07-28 | N/A | See QM Cal Documents | 731 | 448
Cedar | DID-4A | Digital torque screwdriver | 83874 | UVA-0078 | 2019-11-19 | 2020-11-19 | 19114859 | Checkline | 366 | 197
Lindstrom | PS501-3 | Preset Torque Screwdriver | 0414400681 | UVA-0159 | 2019-12-02 | 2020-06-02 | N/A | N/A | 183 | 27
uAvionix - PT | N/A | Reply Generator | 00004 | UVA-0155 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
uAvionix - FTS | N/A | skyBeacon FTS - 1 | FTS-0001 | UVA-0038 | 2020-02-22 | 2020-05-22 | UAV-1003012-001 | Colter Mahlum | 90 | 16
Beehive | JET1819 | N to MCX Cable | N/A | UVA-0054 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
uAvionix | N/A | Reply Generator | 00001 | UVA-0080 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
Pomona Electronics | 3782-36-02 | Power Clips | N/A | UVA-0208 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
uAvionix - FTS | N/A | tailBeacon FTS - 1 | FTS-0002 | UVA-0138 | 2020-02-22 | 2020-05-22 | UAV-1003083-001 | Colter Mahlum | 90 | 16
Beehive | JET1848 | N to MCX Cable | N/A | UVA-0146 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
uAvionix | N/A | Reply Generator | 00003 | UVA-0154 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
Pomona Electronics | 3782-36-02 | Power Clips | N/A | UVA-0209 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
uAvionix - FTS | N/A | tailBeacon FTS - 2 | FTS-0003 | UVA-0149 | 2020-02-22 | 2020-05-22 | UAV-1003083-001 | Colter Mahlum | 90 | 16
Beehive | JET1848 | N to MCX Cable | N/A | UVA-0152 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
uAvionix | N/A | Reply Generator | 00002 | UVA-0047 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
Pomona Electronics | 3782-36-02 | Power Clips | N/A | UVA-0210 | 2020-02-22 | 2020-05-22 | N/A | Colter Mahlum | 90 | 16
ASG | TL-6500 | Torque Screwdriver | 520825 | UVA-0150 | 2020-02-22 | 2020-05-22 | UAV-1003013-001 | Colter Mahlum | 90 | 16
ASG | TL-6500 | Torque Screwdriver | 519465 | UVA-0098 | 2020-02-22 | 2020-05-22 | UAV-1003013-001 | Colter Mahlum | 90 | 16
ASG | TL-3000 | Torque Screwdriver | 519272 | UVA-0094 | 2020-02-22 | 2020-05-22 | UAV-1003013-001 | Colter Mahlum | 90 | 16
Mitutoyo | CD-6" ASX | Caliper, 0-6 inches | B17201899 | UVA-0077 | 2020-01-27 | 2022-01-27 | 2-C6N9S-20-1 | Edward Sosa | 731 | 631
Mitutoyo | CD-6" ASX | Caliper, 0-6 inches | A18276850 | UVA-0056 | 2020-02-08 | 2022-02-08 | 2-C6S2E-20-1 | Neil Greuel | 731 | 643
Mitutoyo | 293-344-30 | Micrometer | 67620752 | UVA-0188 | 2019-03-13 | 2021-03-13 | 0750-01 | Adam Harrington | 731 | 311
Mitutoyo | 0.250 GB | Gauge Block | 191025 | UVA-0189 | 2019-08-09 | 2021-08-09 | T19H03319 | H. Kusubaru | 731 | 460
Mitutoyo | 570-312 | Height Stand | 15118919 | UVA-0192 | 2019-08-22 | 2021-08-22 | 0750-01 | Michele Hentges | 731 | 473
Laversab | 6200-W | AV PS Tester | 89632 | UVA-0193 | 2019-12-05 | 2020-12-05 | N/A | Sean Mitchell | 366 | 213
Konica Minolta | T-10A | Light Tester | 20017223 | UVA-0211 | 2019-06-06 | 2020-06-06 | N/A | See QM Cal Documents | 366 | 31
Dataq | DI-2008 | Temp Tester | 5DF7D379 | UVA-0212 | 2019-12-16 | 2020-12-16 | N/A | T Leah | 366 | 224
Laversab | 6200-W | AV PS Tester | 89768 | UVA-0215 | 2019-12-17 | 2020-12-17 | N/A | Prateek Karkel | 366 | 225
Tektronix | MDO4104C | Mixed Domain Oscilloscope | C012400 | UVA-0255 | 2019-06-13 | 2021-06-13 | 1936978-1 | willmcgo | 731 | 403
Tektronix | TTR503A | VNA | Y010167 | UVA-0071 | 2019-12-30 | 2020-12-30 | 1979679-1-TTR503A-Y010167-2 | Darrell Cleland | 366 | 238
SCS | 770030 | Foot/Wrist Strap Tester | 7700301944031' | UVA-0219 | 2019-10-29 | 2021-01-04 | N/A | Alejandra Ribota | 433 | 243
Desco | 19240 | 9V Wrist Strap Tester | 192401941079' | UVA-0220 | 2019-10-09 | 2021-01-04 | N/A | Roman Sepulveda | 453 | 243
Desco | 19350 | Wrist Strap Tester | 193501945032 | UVA-0221 | 2019-11-05 | 2021-01-04 | N/A | Alejandra Ribota | 426 | 243
McMaster | 501-024 CT | Calibrated Ruler | 121510284 | UVA-0224 | 2020-01-09 | 2022-01-09 | McMaster/SR27943 | See QM Cal Documents | 731 | 613
uAvionix | N/A | AV Cal Robot | AV-0001 | UVA-0205 | 2020-03-30 | 2020-06-30 | UAV-1003695-001 | See UAV Procedure | 92 | 55
By:
Date:
Formulas:
Days Until Cal = [Cal Due]-TODAY()